## Test Information
Analytical Validity, Clinical Validation Summary Worksheet, Prenatal Carrier Testing (PCS-PF-022-v2)
Instructions: Complete as thoroughly as possible and add appropriate detail. Write 'N/A' where applicable. Add rows and worksheets if necessary. List all samples (reference AND clinical) used in the validation on the AV & CV Summary tab.
NOTE: You must complete all summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier(s):
Test Name:
CPT codes used:
| QUESTION |  | RESPONSE
| General Test Information | Is this test based on published guidelines? If so, please describe in detail and include the specific guidelines that were used to develop the test. NOTE: if guidelines differ, please describe how those differences were taken into account.
If assay was designed independently of published guidelines, please describe logic used for gene inclusion.
Is this test for a particular ethnic population only? If so, please describe.
What Tier of Screening as defined by ACMG is this test?
What location is the assay performed? If the wet bench is performed at a separate location than reporting, please describe.
What is the assay methodology?
Is this test utilizing an FDA-approved or cleared kit? (Yes/No)
Regardless of FDA-approval status, provide the name(s) of the kit and vendor used for assay and sequencing:
Does the test order require pre-test genetic counseling by a physician specialist or genetic counselor? Provide sufficient detail.
| Preanalytical Questions | What are the specimen types accepted for testing?
Describe the orthogonal methods used for confirmation of the clinical validation:
| Analytical Questions | Describe any non-NGS methodologies used, including those for complex regions in genes otherwise covered by NGS if applicable. Provide ample detail and specificity.
If NGS:
Describe the library quality criteria for reporting:
What is the mean depth of coverage across the validation samples:
What is your minimum accepted mean depth of coverage for a clinical sample:
How do you confirm that variants are real vs artifact?
Describe variant quality criteria for reporting:
How do you ensure specimen integrity/ minimize contamination?
How are controls utilized in this test?
| Post-Analytical Questions | Do you report variants of uncertain significance (VUS)?
How do you report variants in which a carrier parent may manifest signs and symptoms different from the condition being tested for?
Who reviews and signs out these test results?
How do you handle amended and corrected reports?
How do you handle QNS reports?
Describe your process for re-evaluating/re-classifying variants and for re-contacting individuals with changes as a result.

## AV & CV Summary (non-NGS)
Analytical Validity, Clinical Validation Summary Worksheet, Prenatal Carrier Testing (PCS-PF-022-v2)
Instructions: For non-NGS tests, please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable.
1 - Sample Types Tested in Clinical Validation
List the samples and reference materials used for the validation and number used of each. Add rows to describe "Other" sample types, if necessary. Write 'N/A' if not applicable to your test.
| Sample Type | Number of Samples Tested
Whole Blood
Saliva
Buccal Swab
Cultured Cells
Tissue
Extracted DNA
Other
*Reference Material
Total clinical samples in validation
Total samples in validation
*Reference materials are not considered "clinical" and do not contribute to the assessment of the clinical validation.
2 - Analytical Validation1 Summary Table (CONTRIVED OR REFERENCE SAMPLES)
Complete the table below with the analytical validation findings. Add as many rows as necessary.
| Variant Type2 | Unique Samples Tested3 | Unique Variants Expected4 | Unique Variants Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sensitivity/ Variant-Level PPA (95% CI) | Specificity/ Variant-Level NPA (95% CI)
CFTR SNVs/Indels
CFTR CNVs
HBA1_2 SNVs/Indels
HBA1_2 CNVs
HBB SNVs/Indels
HBB CNVs
SMN1 0 Copies
SMN1 1 Copies
SMN1 3+ Copies
SMN1 g.27134T>G
FMR1 Repeat Expansion Normal (Up to 44 repeats)
FMR1 Repeat Expansion Intermediate or Premutation (45 to 200 repeats)
FMR1 Repeat Expansion Full Mutation (>200 repeats)
Other SNVs/Indels
Other CNVs
1 Analytical Validation defines the performance characteristics of the test in ideal conditions.
2 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV)
3 For the purpose of this table, a “unique sample” is a single sample, not replicates or aliquots of a single sample.
4 For the purposes of this table, a “unique variant” may include the same variant [e.g., BRCA1 c.4327C>T (p.Arg1443Ter)] in different unique samples.
3 - Clinical Validation1 Summary Table (PATIENT SAMPLES)
Complete the table below with the clinical validation findings. List clinically relevant alleles identified and compare to the orthogonal method used. Add as many rows as necessary.
| Variant Type2 | Unique Samples Tested3 | Unique Variants Expected4 | Unique Variants Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sensitivity/ Variant-Level PPA (95% CI) | Specificity/ Variant-Level NPA (95% CI)
CFTR SNVs/Indels
CFTR CNVs
HBA1_2 SNVs/Indels
HBA1_2 CNVs
HBB SNVs/Indels
HBB CNVs
SMN1 0 Copies
SMN1 1 Copies
SMN1 3+ Copies
SMN1 g.27134T>G
FMR1 Repeat Expansion Normal (Up to 44 repeats)
FMR1 Repeat Expansion Intermediate or Premutation (45 to 200 repeats)
FMR1 Repeat Expansion Full Mutation (>200 repeats)
Other SNVs/Indels
Other CNVs
1 Analytical Validation defines the performance characteristics of the test in ideal conditions.
2 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV)
3 For the purpose of this table, a “unique sample” is a single sample, not replicates or aliquots of a single sample.
4 For the purposes of this table, a “unique variant” may include the same variant [e.g., BRCA1 c.4327C>T (p.Arg1443Ter)] in different unique samples.

## AV & CV Summary (NGS)
Analytical Validity, Clinical Validation Summary Worksheet, Prenatal Carrier Testing (PCS-PF-022-v2)
Instructions: For NGS tests, please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable.
1 - Sample Types Tested in Clinical Validation
List the samples and reference materials used for the validation and number used of each. Add rows to describe "Other" sample types, if necessary. Write 'N/A' if not applicable to your test.
| Sample Type | Number of Samples Tested
Whole Blood
Saliva
Buccal Swab
Cultured Cells
Tissue
Extracted DNA
Other
*Reference Material
Total clinical samples in validation
Total samples in validation
*Reference materials are not considered "clinical" and do not contribute to the assessment of the clinical validation.
2 - Analytical Validation1 Summary Table (CONTRIVED OR REFERENCE SAMPLES)
Complete the table below with the analytical validation findings. Add as many rows as necessary.
| Variant Type2 | Variant Allele Frequency Range | Unique Samples Tested3 | Unique Variants Expected4 | Unique Variants Detected | Concordant Unique Variants | Sensitivity/ Variant-Level PPA (95% CI) | Specificity/ Variant-Level NPA (95% CI)
SNVs
Indels ≤40bp
Indels >40bp
CNVs (Gain/Loss)
Repeat Expansion
Other (fill in variant type)
1 Analytical Validation defines the performance characteristics of the test in ideal conditions.
2 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV)
3 For the purpose of this table, a “unique sample” is a single sample, not replicates or aliquots of a single sample.
4 For the purposes of this table, a “unique variant” may include the same variant [e.g., BRCA1 c.4327C>T (p.Arg1443Ter)] in different unique samples.
3 - Clinical Validation1 Summary Table (PATIENT SAMPLES)
Complete the table below with the clinical validation findings. List clinically relevant alleles identified and compare to the orthogonal method used. Add as many rows as necessary.
| Variant Type2 | Variant allele frequency range | Unique Samples Tested3 | Unique Variants Expected4 | Unique Variants Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sensitivity/ Variant-level PPA (95% CI) | Specificity/ Variant-level NPA (95% CI)
SNVs
Indels ≤40bp
Indels >40bp
CNVs (Gain/Loss)
Repeat Expansion
Other (fill in variant type)
1 Analytical Validation defines the performance characteristics of the test in ideal conditions.
2 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV)
3 For the purpose of this table, a “unique sample” is a single sample, not replicates or aliquots of a single sample.
4 For the purposes of this table, a “unique variant” may include the same variant [e.g., BRCA1 c.4327C>T (p.Arg1443Ter)] in different unique samples.

## Sample-Level Data
Analytical Validity, Clinical Validation Summary Worksheet, Prenatal Carrier Testing (PCS-PF-022-v2)
CLINICAL Sample-Level Data
Instructions: Complete the table below with sample level data from validation for reportable variants. The information in red below is provided as an example - delete before entering your data. For items that are not applicable, enter 'N/A.' Add rows and columns as need.
NOTE: This table outlines the information required for each sample. If this information is clearly available in your existing validation documents, you may refer to those specific documents/page numbers in lieu of completing this table.
|  |  | EXPECTED RESULTS | [5 empty] | OBSERVED RESULTS
| SAMPLE IDENTIFIER | SAMPLE TYPE | VARIANT CLASS* | GENE | VARIANT (c./p.) Also note whether the variant is in a complex region or is considered a founder mutation | % Variant Allele Frequency (VAF) | VARIANT CLASSIFICATION | Methodology | % Variant Allele Frequency (VAF) | Results Agree ? Y/N (Exclusive of differing %VAFs) | Methodology | Explanation of Discordance (if applicable) | Comments
| 1 | Blood | SNV | BRCA1 | c.4327C>T (p.Arg1443Ter) | 50% | Pathogenic | NGS | 25% | Y | NGS | N/A
| 1 | Blood | indel | BRCA2 | c.6174delT (p.Ser1982fs) |  | Pathogenic | Sanger | 50% | Y | NGS | N/A
| 2 | Buccal swab
| 2 | Buccal swab
*Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV), Structural Variant (SV), Splice-Site Variant (SSV)

## Change Log
Date | Version | Note
2023-05-01 | 1 | New Document
2023-09-13 | 2 | Added non-NGS assay summary tab